## Help
Help
Colors
Unchanged Value (Equal to Default Value)
Changed Value (Value not equal to Default Value)
Library Declaration
Header
Default Value
Key
? | Parameter Reference
HW Modules tab help and recommendations
The LibrarySolution and ObjectName column will be ignored when the module specific library sheet is provided in the import file
When the module specific library sheet is NOT provided in the import file then the following rules will apply for determing the library Solution:
If the LibrarySolution is NOT provided on HW sheet:
Checks for a matching library to use in the database
Looks in Parent module Solution
Looks in Solution = (RA - LIB) ACM
Looks in Solution = Rockwell
Looks in all other Solutions
If found in any of the above Solutions then the Highest Revision library will be used
If no match can be found then the IEM import process will fail
To override the above Solution checking then specify the SolutionName on the HW sheet
Checks for a matching library in the database based on the specified SolutionName
If found in the specified Solutions then the Highest Revision library will be used
If no match can be found then the IEM import process will fail
When the module specific library sheet is NOT provided in the import file then the following rules will apply for determing the instance Name of the library to be imported:
Specified library instance contains any substitutions for the default Name of the instance
The ObjectName column value will always be ignored
If the substitutions on the instance Name cannot be fully resolved this will result in an invalid Name and the IEM import process will fail
User must supply a module specific library sheet to the import file
Specified library instance contains NO substitutions for the default Name of the instance
The ObjectName column value will be used
If the ObjectName in the column is not provided and the default Name of the specified library instance is blank the IEM import will fail
If the ObjectName in the column is not provided and the default Name of the specified library instance uses a static value then only the first instance will be imported to prevent duplicates

## Basic_Project(2.0)
:Library(Basic_Project, (RA-LIB) ACM 2.00, Major 2, Minor 0, ID 22A1E5FB-E3BB-4010-A181-3F9518DFC336)
:Objects
Name | Description
$
HardyApplication_ACM_v1_00 | Basic Project Library

## FTViewME(4.0)
:Library(FTViewME, (RA-LIB) ACM 2.00, Major 4, Minor 0, ID B2A56D53-AA04-4DD5-82D5-C48309C278B9)
:Objects
Name | Description | P_DisplayTemplate | P_BatchImportTemplate | P_MaxSymbolWidth | P_MaxSymbolHeight
$FTViewME_Panel |  | (RA-TPL)_ACM_2.00_HMI_Display_FTViewME_12.0_(4.0).xml | (RA-TPL)_ACM_2.00_HMI_Display_FTViewME_BatchImport_(1.0).xml | 240 | 410
FTViewME_Panel | FactoryTalk View ME Display | (RA-TPL)_ACM_2.00_HMI_Display_FTViewME_10.0_(1.0).xml | (RA-TPL)_ACM_2.00_HMI_Display_FTViewME_BatchImport_(1.0).xml | 240 | 410
:SubObjects(GraphicDisplays)
Parent | Name | Description | Override Description | P_DisplayTitle | P_DisplayLeft | P_DisplayTop | P_DisplayWidth | P_DisplayHeight | P_DisplayBackColor | P_DisplaySecurity | P_UpdateRate | P_LeftIndexMax
$FTViewME_Panel | SubObjectName | Name of the gfx file | False |  | 0 | 0 | 800 | 600 | silver | * | 1.0 | 7
FTViewME_Panel | gfx_MELaunch | Name of the gfx file | False |  | 0 | 0 | 800 | 600 | silver | * | 1.0 | 7

## FTViewSE(4.0)
:Library(FTViewSE, (RA-LIB) ACM 2.00, Major 4, Minor 0, ID B47C2BF0-ADA7-4CF9-97DF-8DBF60E5B23B)
:Objects
Name | Description | P_DisplayTemplate | P_BatchImportTemplate | P_MaxSymbolWidth | P_MaxSymbolHeight
$FTViewSE_Server |  | (RA-TPL)_ACM_2.00_HMI_Display_FTViewSE_12.0_(4.0).xml | (RA-TPL)_ACM_2.00_HMI_Display_FTViewSE_BatchImport_(1.0).xml | 240 | 410
FTViewSE_Server | FactoryTalk View SE Display | (RA-TPL)_ACM_2.00_HMI_Display_FTViewSE_10.0_(2.0).xml | (RA-TPL)_ACM_2.00_HMI_Display_FTViewSE_BatchImport_(1.0).xml | 240 | 410
:SubObjects(GraphicDisplays)
Parent | Name | Description | Override Description | P_DisplayTitle | P_DisplayLeft | P_DisplayTop | P_DisplayWidth | P_DisplayHeight | P_DisplayBackColor | P_DisplaySecurity | P_UpdateRate | P_LeftIndexMax | P_VBAProjectObject | P_VBAProjectObject_RefData
$FTViewSE_Server | SubObjectName | Name of the gfx file | False |  | 0 | 0 | 3000 | 1500 | silver | * | 1.0 | 7
FTViewSE_Server | gfx_SELaunch | Name of the gfx file | False |  | 0 | 0 | 3000 | 1500 | silver | * | 1.0 | 7

## Controllers
:Controller(ControlLogix_Controller, (RA-LIB) ACM 2.00, Major 2, Minor 1, ID 454A7440-163E-48A4-8851-7DF13522BD78)
Name | Description | P_ChassisName | P_Slot | P_Size | P_SoftwareRevision | P_ProcessorType | P_PlantPAxTaskingModel_Enabled | P_AreaPath | P_AreaPathME | P_HistorianPath | P_FTLDInterfaceNo | P_ConfigureMotion | P_MotionGroupName | P_EthernetPort1_Enabled | P_TimeSync_Priority1 | P_TimeSync_Priority2 | P_TimeSync_PTPEnable
$ |  | Local | 0 | 17 | 35 | 1756-L85EP | 0 | /Area::[shortcut] | [shortcut] | Application/Area:RSLinx Enterprise:[shortcut] | 1 | False | MotionGroup | 1 | 128 | 128 | 1
HardyApplication_v1_00 | ControlLogix Controller | Local | 0 | 17 | 31 | 1756-L85E | 0 | [PAC_SE] | [PAC_ME] | Application/Area:RSLinx Enterprise:[shortcut] | 1 | 0 | MotionGroup | 1 | 128 | 128 | 1

## Tasks
:Library(Task, System, Major 1, Minor 0, ID F28E1F66-6594-4AAA-9537-88A0847D1D33)
:Objects
Name | Controller | Description | P_Type | P_Trigger | P_Tag | P_ExecuteTaskAfterPeriod | P_Period | P_Priority | P_Watchdog | P_DisableUpdateOutputs | P_InhibitTask | P_Class
$Task |  | Task Description | Periodic | EVENT Instruction Only |  | 0 | 10 | 10 | 500 | 0 | 0 | Standard
Task | HardyApplication_v1_00 | Task Description | Periodic | EVENT Instruction Only |  | 0 | 100 | 10 | 500 | 0 | 0 | Standard

## Programs
:Library(Program, System, Major 1, Minor 0, ID 2F85DAE4-B1F7-4497-BA3F-D068CA767DA2)
:Objects
Name | Controller | Task | LogicalParent | Description | P_Type | P_InhibitProgram | P_SynchronizeRedundancyDataAfterExecution | P_MainRoutineName | P_MainRoutineType | P_PreStateRoutineName | P_FaultRoutineName | P_InitialStepIndex | P_InitialState | P_CompleteStateIfNotImplemented | P_LossOfCommunicationCommand | P_ExternalRequestHoldAction | P_AutoValueAssignStepToPhase | P_AutoValueAssignPhaseToStepOnComplete | P_AutoValueAssignPhaseToStepOnStopped | P_AutoValueAssignPhaseToStepOnAborted | P_RetainSequenceIDOnReset | P_GenerateSequenceEvents | P_UnitID | P_ValuesToUseOnStart | P_ValuesToUseOnReset | P_Class | P_UseAsFolder
$Program |  |  |  | Description | Program | 0 | 0 | MainRoutine | RLL |  |  | 0 | Idle | StateComplete | None | None | 1 | 1 | 1 | 1 | 0 | 0 | 1 | Use Initial Values | Restore to Initial Values | Standard | 0
Program | HardyApplication_v1_00 | Task |  | Description | Program | 0 | 0 | MainRoutine | RLL |  |  | 0 | Idle | StateComplete | None | None | 1 | 1 | 1 | 1 | 0 | 0 | 1 | Use Initial Values | Restore to Initial Values | Standard | 0

## raC_Dvc_HI_1756xWS(1.0)
:Library(raC_Dvc_HI_1756xWS, (RA-LIB) Device, Major 1, Minor 0, ID 2142955F-E0B9-40A3-9217-FBFA3C8C6694)
:Objects
Name | Controller | Task | Program | Description
$raC_Dvc_HI_1756xWS |  |  |  | raC_Dvc_HI_1756xWS Device Object - Asset Definitions
raC_Dvc_HI_1756xWS | HardyApplication_v1_00 |  |  | raC_Dvc_HI_1756xWS Device Object - Asset Definitions

## raC_LD_Dvc_HI_1756xWS(1.0)
:Library(raC_LD_Dvc_HI_1756xWS, (RA-LIB) Device, Major 1, Minor 0, ID FBF6D3F2-5DEF-455A-B2EC-53DE91C9A068)
:Objects
Name | Controller | Task | Program | Description | P_RoutineName | P_TagName | P_TagDescription | P_ModuleName | P_IncludeHW | P_Slot | P_NumberOfChannels | P_RPI | P_ParentModule | P_ParentModule_RefData | P_ChassisName | P_NavigationButton | P_SEAssocDisplay | P_SEAssocDisplay_RefData | P_MEAssocDisplay | P_MEAssocDisplay_RefData
$raC_LD_Dvc_HI_1756xWS |  |  |  | raC_Dvc_HI_1756xWS Device Object | {ObjectName} | {ObjectName} | {ObjectDescription} | Mod_{ObjectName} | 1 | 0 | One Channel | 10.0 | Local |  | {ParentModule} | GraphicalButton
raC_LD_Dvc_HI_1756_2WS | HardyApplication_v1_00 | Task | Program | raC_Dvc_HI_1756xWS | HI_1756xWS | HI_17562WS | HI_17562WS Device | Mod_HI_1756_2WS | 1 | 6 | Two Channel | 10.0 | Local |  | Local | GraphicalButton | FTViewSE_Server.GraphicDisplays.gfx_SELaunch |  | FTViewME_Panel.GraphicDisplays.gfx_MELaunch
raC_LD_Dvc_HI_1756xWS | HardyApplication_v1_00 | Task | Program | raC_Dvc_HI_1756xWS Device Object | HI_1756xWS | HI_1756xWS | HI_17561WS Device | Mod_HI_1756_1WS | 1 | 5 | One Channel | 10.0 | Local |  | Local | GraphicalButton | FTViewSE_Server.GraphicDisplays.gfx_SELaunch |  | FTViewME_Panel.GraphicDisplays.gfx_MELaunch
:LinkedLibraries
Parent | Controller | L_raC_Dvc_HI_1756xWS
$raC_LD_Dvc_HI_1756xWS
raC_LD_Dvc_HI_1756_2WS | HardyApplication_v1_00 | raC_Dvc_HI_1756xWS
raC_LD_Dvc_HI_1756xWS | HardyApplication_v1_00 | raC_Dvc_HI_1756xWS

## CO Objects (hidden)
:COObjects
Name | Controller | Object | COParent | LogicalParent | Type | NameSubstitution | OrderIndex | MarkedForDeletion | MainRoutine | InstanceExecutingOrder
Program | HardyApplication_v1_00 | Program | Task |  | PROGRAM | {ObjectName} | 1
MainRoutine | HardyApplication_v1_00 | Program | Program |  | ROUTINE | {MainRoutineName} | 0 |  | 2
MainRoutine | HardyApplication_v1_00 | Program | Program |  | ROUTINE | {MainRoutineName} | 0 |  | 2
MainRoutine | HardyApplication_v1_00 | Program | Program |  | ROUTINE | {MainRoutineName} | 0 |  | 2
MainRoutine | HardyApplication_v1_00 | Program | Program |  | ROUTINE | {MainRoutineName} | 0 |  | 2
Diagram | HardyApplication_v1_00 | Program | Program |  | ROUTINE | Diagram | 1 |  | 0
raC_Dvc_HI_1756xWS | HardyApplication_v1_00 | raC_Dvc_HI_1756xWS | HardyApplication_v1_00 |  | AOI
MainRoutine | HardyApplication_v1_00 | raC_LD_Dvc_HI_1756_2WS | Program |  | ROUTINE | MainRoutine | 0 |  | 0
HI_1756xWS | HardyApplication_v1_00 | raC_LD_Dvc_HI_1756_2WS | Program |  | ROUTINE | {RoutineName} | 2 |  | 0
MainRoutine | HardyApplication_v1_00 | raC_LD_Dvc_HI_1756xWS | Program |  | ROUTINE | MainRoutine | 0 |  | 0
HI_1756xWS | HardyApplication_v1_00 | raC_LD_Dvc_HI_1756xWS | Program |  | ROUTINE | {RoutineName} | 2 |  | 0