# TECH NOTE

# Implementing HARDY Sample Code

This guide is intended for programmers to simplify the installation and use of HARDY sample code.

- Download the EDS/AOP AND sample from the Docs and Programs tab on the HARDY website.

- Install the EDS/AOP prior to importing code by using the Rockwell .EDS installation tool.

- Once installed, there will be a sample .ACD program and importable .L5X files within the program download.

- The sample program is used for visual reference and is not required to be used.

- The L5X files can be imported directly into a PLC program to control the HARDY instrument.

  - Add the instrument to the PLC.

  - Import the program by right clicking the MainTask > Add > Import Program…

  - When prompted, direct the program to point to your Hardy instrument tags.

  - Toggle the commands to control the instrument.